**Digital Temperature&Relative Humidity Sensor DHT11 Module for Arduino**

New 1 PCS Digital Temperature&Relative Humidity Sensor DHT11 Module for Arduino

Article-Nr.:2302676

Product Details: Temperature & Humidity Sensor Module

Condition: New

Can detect surrounding environment of the humidity and temperature

DHT11 sensor adopts

Humidity measurement range: 20% ~90%RH

Humidity measurement error: ±5%RH

Temperature measurement range: 0℃~60℃

Temperature measurement error: ±2 ℃

Operating voltage: DC 5V

Output form: Digital

Has fixed bolt hole and easy installation

Color and more details are shown as pictures

PLS NOTE that due to lighting effects, monitor's brightness / contrast settings etc, there could be some slight differences in the color tone of the pictures and the actual item!

Package Included:

1 x Temperature & Humidity Sensor Module